## How to Use
Free Commercial New Build Estimate Templates
From Projul, construction management software for contractors
What's inside:
• 7,200 SF Office, Metal Framed: 7,200 SF Single-Story Office, Metal Framed Estimate
• Auto Service Center: Auto Service Center Estimate
• Small Retail Building: Small Retail Building Estimate
How to use:
1. Pick the tab that matches the job, then right-click the tab > Move or Copy > Create a copy, so you keep a clean original.
2. Fill in your company and customer details, the estimate date, and how long the price is valid.
3. Edit the light-yellow cells: quantities, unit costs, overhead %, and profit %. Everything else calculates itself.
4. Use the blank rows in each section to add line items. Totals pick them up automatically.
5. Update the scope, exclusions, and terms at the bottom, then File > Save As PDF to send it.
About the numbers:
Example prices are mid-range U.S. figures for 2026. Replace them with your supplier pricing and your crew's real labor rates.
Profit is calculated on direct cost plus overhead. Overhead and profit percentages are inputs on each tab.
Google Sheets: File > Import > Upload this file. Formulas carry over.
Tired of spreadsheets? Projul builds, sends, and tracks estimates from your phone,
with e-signatures and one-click conversion to jobs and invoices.
Learn more: https://projul.com/blog/free-commercial-new-build-estimate-templates/?utm_source=template&utm_medium=xlsx&utm_campaign=commercial-new-build-estimate-templates

## 7,200 SF Office, Metal Framed
Commercial New Build Estimate: 7,200 SF Single-Story Office, Metal Framed
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
This commercial estimate template covers a 7,200 SF ground-up, single-story office building with a metal frame and metal roof, finished interiors, and a paved lot. Adjust quantities and unit costs for your site and local pricing.
Division 01: General Conditions | Qty | Unit | Unit Cost | Total
Building permit, plan review, and impact fees allowance | 1 | lot | 18000
Superintendent | 32 | weeks | 2800
Project management and billing | 8 | months | 4500
Temporary facilities (office trailer, toilet, fence, power) | 8 | months | 2400
Builder risk insurance and bonds | 1 | lot | 22000
Final construction clean | 7200 | SF | 0.6
Division 01: General Conditions Subtotal
Design and Engineering | Qty | Unit | Unit Cost | Total
Architectural, structural, and MEP design | 7200 | SF | 9
Geotechnical report and boundary/topographic survey | 1 | lot | 12000
Design and Engineering Subtotal
Division 31/32/33: Sitework | Qty | Unit | Unit Cost | Total
Clearing, mass grading, and fine grade | 1 | lot | 48000
SWPPP and erosion control | 1 | lot | 6500
Building pad excavation and engineered fill | 1 | lot | 42000
Underground utilities (water, sewer, storm, conduit) | 1 | lot | 85000
Asphalt paving, base, and compaction | 18000 | SF | 5.5
Curb and gutter | 600 | lin ft | 28
Concrete sidewalks and ADA ramps | 2400 | SF | 8.5
Striping, wheel stops, and site signage | 1 | lot | 6500
Landscaping and irrigation | 1 | lot | 38000
Site lighting (pole fixtures) | 6 | each | 4200
Division 31/32/33: Sitework Subtotal
Division 03: Concrete | Qty | Unit | Unit Cost | Total
Footings and foundation walls | 7200 | SF | 9
Slab on grade (5 in, reinforced) | 7200 | SF | 8.5
Vapor barrier and compacted rock base | 7200 | SF | 1.75
Division 03: Concrete Subtotal
Division 05: Metals | Qty | Unit | Unit Cost | Total
Structural steel / metal building frame | 7200 | SF | 14
Standing seam metal roof panels | 8000 | SF | 11
Metal wall panel accents at facade | 3200 | SF | 22
Division 05: Metals Subtotal
Division 06/07/09: Framing, Insulation, and Drywall | Qty | Unit | Unit Cost | Total
Exterior metal stud wall framing and sheathing | 4080 | SF | 10
Interior metal stud partitions | 3000 | SF | 4.5
Drywall both sides, hung and taped (Level 4) | 6000 | SF | 5
Roof insulation (R-38) | 7200 | SF | 2.2
Exterior wall insulation (R-19) | 4080 | SF | 2
Division 06/07/09: Framing, Insulation, and Drywall Subtotal
Division 08: Openings | Qty | Unit | Unit Cost | Total
Aluminum storefront glazing | 1200 | SF | 75
Exterior hollow metal doors with hardware | 4 | each | 3200
Interior solid core doors, frames, and hardware | 18 | each | 1250
Interior glass sidelites | 6 | each | 1800
Division 08: Openings Subtotal
Division 09: Finishes | Qty | Unit | Unit Cost | Total
Carpet tile (offices) | 4200 | SF | 6.5
Luxury vinyl plank (break room, corridors) | 1200 | SF | 8
Porcelain tile (restrooms) | 600 | SF | 18
Sealed concrete (storage, mechanical) | 1200 | SF | 3
Rubber wall base | 1000 | lin ft | 3.5
Acoustical ceiling grid and tile | 6000 | SF | 5.5
Interior paint (2 coats) | 12000 | SF | 1.1
Division 09: Finishes Subtotal
Division 10/12: Specialties and Millwork | Qty | Unit | Unit Cost | Total
Toilet partitions and restroom accessories | 6 | stalls | 1100
Room signage and ADA signage | 1 | lot | 6500
Fire extinguishers and cabinets | 8 | each | 275
Break room casework and countertops | 1 | lot | 28000
Reception desk and built-ins | 1 | lot | 18000
Window shades | 1000 | SF | 6
Division 10/12: Specialties and Millwork Subtotal
Division 22: Plumbing | Qty | Unit | Unit Cost | Total
Plumbing rough-in and piping | 7200 | SF | 5
Plumbing fixtures (toilets, lavatories, sinks) | 12 | each | 1400
Water heater | 1 | each | 3800
Division 22: Plumbing Subtotal
Division 23: HVAC | Qty | Unit | Unit Cost | Total
Rooftop units (7.5 ton) | 4 | each | 14500
Ductwork, diffusers, and grilles | 7200 | SF | 9
Controls, balancing, and commissioning | 1 | lot | 22000
Division 23: HVAC Subtotal
Division 21/28: Fire Protection | Qty | Unit | Unit Cost | Total
Fire sprinkler system | 7200 | SF | 4.75
Fire alarm system | 1 | lot | 18500
Division 21/28: Fire Protection Subtotal
Division 26/27: Electrical and Low Voltage | Qty | Unit | Unit Cost | Total
Electrical service and distribution | 1 | lot | 68000
LED lighting and controls | 7200 | SF | 7.5
Power, receptacles, and branch wiring | 7200 | SF | 6.5
Data and low voltage cabling | 7200 | SF | 3.5
Emergency lighting and exit signs | 1 | lot | 9500
Division 26/27: Electrical and Low Voltage Subtotal
Summary
Division 01: General Conditions
Design and Engineering
Division 31/32/33: Sitework
Division 03: Concrete
Division 05: Metals
Division 06/07/09: Framing, Insulation, and Drywall
Division 08: Openings
Division 09: Finishes
Division 10/12: Specialties and Millwork
Division 22: Plumbing
Division 23: HVAC
Division 21/28: Fire Protection
Division 26/27: Electrical and Low Voltage
Direct Cost Subtotal
Overhead |  |  | 10%
Profit (on direct cost + overhead) |  |  | 8%
TOTAL ESTIMATE
Scope of work
[Describe the work included in this estimate.]
Exclusions
[List anything not included, such as permits, repairs to hidden conditions, or work by others.]
Timeline
Estimated [X] working days from start, weather and inspections permitting.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to materials.
License and insurance
License #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com

## Auto Service Center
Commercial New Build Estimate: Auto Service Center
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
This commercial estimate template covers a ground-up 9,600 SF auto service center with six service bays, a customer lobby, and restrooms on a paved lot. Adjust quantities and unit costs for your site and local pricing.
General Conditions and Design | Qty | Unit | Unit Cost | Total
Building permit, plan review, and impact fees allowance | 1 | lot | 22000
Architectural, structural, MEP, and civil design | 1 | lot | 86000
Geotechnical borings and report (lift anchorage) | 1 | lot | 9500
Superintendent | 30 | weeks | 2800
Temporary facilities and site security | 7 | months | 3200
Debris bins (swapped monthly) | 7 | months | 650
Final construction clean | 9600 | SF | 0.55
General Conditions and Design Subtotal
Sitework | Qty | Unit | Unit Cost | Total
Excavation, site preparation, and fine grade | 1 | lot | 65000
SWPPP and erosion control | 1 | lot | 6500
Underground utilities, oil/water separator, and drains | 1 | lot | 98000
Asphalt parking and drive lanes | 26000 | SF | 5.75
Concrete apron at bay doors | 2400 | SF | 9.5
Curb, sidewalks, and ADA ramps | 1 | lot | 24000
Striping and signage | 1 | lot | 5500
Landscaping and irrigation | 1 | lot | 28000
Sitework Subtotal
Concrete | Qty | Unit | Unit Cost | Total
Perimeter footings (stem wall and strip footing) | 440 | lin ft | 85
Spread footings at columns | 16 | each | 1400
Reinforced slab on grade (6 in) with vapor barrier and base | 9600 | SF | 10.5
Drilled piers for 2-post lift anchorage | 6 | each | 1800
Trench drains in service bays | 120 | lin ft | 120
Concrete polish and sealer in service area | 7200 | SF | 4.25
Concrete Subtotal
Steel and Shell | Qty | Unit | Unit Cost | Total
Pre-engineered metal building package (steel frame) | 9600 | SF | 17
Standing seam metal roof panels | 10400 | SF | 11
Metal wall panels | 5200 | SF | 12.5
Roof and wall insulation (R-25) | 15600 | SF | 2.4
Overhead coiling or sectional doors (14 ft, with openers) | 6 | each | 6800
Storefront glazing at lobby | 300 | SF | 75
Exterior and interior hollow metal doors with hardware | 8 | each | 2400
Steel and Shell Subtotal
Interior Framing and Finishes | Qty | Unit | Unit Cost | Total
Metal stud partitions and drywall (lobby, offices, restrooms) | 4200 | SF | 8.5
FRP wall panels in service bays | 2400 | SF | 4.75
Acoustical ceiling (lobby and offices) | 1600 | SF | 5.5
Luxury vinyl plank and tile (lobby, restrooms) | 1600 | SF | 9.5
Interior paint | 9000 | SF | 1.1
Restroom partitions, accessories, and signage | 1 | lot | 7500
Service counter and lobby casework | 1 | lot | 16000
Interior Framing and Finishes Subtotal
Plumbing and Compressed Air | Qty | Unit | Unit Cost | Total
Plumbing rough-in and finish (restrooms, mop sink, break area) | 1 | lot | 38000
Floor drain package in shop | 1 | lot | 4500
Water heater | 1 | each | 3200
Compressed air piping and compressor hookup | 1 | lot | 14500
Gas piping to unit heaters | 1 | lot | 6500
Plumbing and Compressed Air Subtotal
HVAC and Ventilation | Qty | Unit | Unit Cost | Total
Rooftop unit for lobby and offices | 1 | each | 14500
Gas unit heaters in service bays | 4 | each | 4200
Shop exhaust fans and make-up air | 1 | lot | 18000
Vehicle exhaust extraction hose reels | 6 | each | 2600
Ductwork, controls, and balancing | 1 | lot | 17500
HVAC and Ventilation Subtotal
Fire Protection and Electrical | Qty | Unit | Unit Cost | Total
Fire sprinkler system | 9600 | SF | 4.25
Fire alarm system | 1 | lot | 14000
Electrical service and distribution (400A, 3-phase) | 1 | lot | 64000
LED shop lighting package | 9600 | SF | 3.25
Lobby and office lighting | 1600 | SF | 7.5
Shop power, lift circuits, and receptacles | 9600 | SF | 4.5
Data, low voltage, and security cameras | 1 | lot | 14000
Exit signs and emergency lighting | 1 | lot | 6500
Fire Protection and Electrical Subtotal
Summary
General Conditions and Design
Sitework
Concrete
Steel and Shell
Interior Framing and Finishes
Plumbing and Compressed Air
HVAC and Ventilation
Fire Protection and Electrical
Direct Cost Subtotal
Overhead |  |  | 10%
Profit (on direct cost + overhead) |  |  | 8%
TOTAL ESTIMATE
Scope of work
[Describe the work included in this estimate.]
Exclusions
[List anything not included, such as permits, repairs to hidden conditions, or work by others.]
Timeline
Estimated [X] working days from start, weather and inspections permitting.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to materials.
License and insurance
License #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com

## Small Retail Building
Commercial New Build Estimate: Small Retail Building
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
This commercial estimate template covers a ground-up 4,000 SF retail shell with storefront glazing, a rooftop HVAC package, and a paved lot. Tenant finishes are left to the tenant; adjust quantities and unit costs for your site.
General Conditions and Design | Qty | Unit | Unit Cost | Total
Building permit, plan review, and impact fees allowance | 1 | lot | 14000
Architectural, structural, and MEP design | 4000 | SF | 8.5
Geotechnical report and survey | 1 | lot | 8500
Superintendent | 20 | weeks | 2800
Temporary facilities, fence, and toilet | 5 | months | 2200
Debris removal | 1 | lot | 5500
Final construction clean | 4000 | SF | 0.55
General Conditions and Design Subtotal
Sitework | Qty | Unit | Unit Cost | Total
Grading, excavation, and engineered fill | 1 | lot | 38000
SWPPP and erosion control | 1 | lot | 4500
Underground utilities (water, sewer, storm, electrical conduit) | 1 | lot | 62000
Asphalt paving and base | 14000 | SF | 5.5
Concrete sidewalks, curb, and ADA ramps | 1 | lot | 22000
Striping and signage | 1 | lot | 4500
Landscaping and irrigation | 1 | lot | 18000
Dumpster enclosure | 1 | each | 7500
Sitework Subtotal
Concrete | Qty | Unit | Unit Cost | Total
Footings and foundation | 4000 | SF | 9
Slab on grade (5 in, reinforced) | 4000 | SF | 8.5
Vapor barrier and compacted base | 4000 | SF | 1.75
Concrete Subtotal
Structure and Shell | Qty | Unit | Unit Cost | Total
Structural steel frame and roof joists/deck | 4000 | SF | 15
Exterior wall framing, sheathing, and weather barrier | 3000 | SF | 11
Exterior finish (stucco, brick veneer, or metal panel) | 3000 | SF | 16
TPO roofing with insulation (R-30) | 4200 | SF | 8
Roof drains, scuppers, and flashing | 1 | lot | 7500
Parapet and coping | 280 | lin ft | 38
Structure and Shell Subtotal
Openings | Qty | Unit | Unit Cost | Total
Aluminum storefront glazing system | 600 | SF | 75
Storefront entry doors with hardware | 2 | each | 4200
Rear service door (hollow metal) | 1 | each | 2200
Interior demising wall framing and drywall (fire rated) | 800 | SF | 12
Openings Subtotal
Rough Interior Systems | Qty | Unit | Unit Cost | Total
Warm shell drywall at restrooms and utility room | 1200 | SF | 6
Restroom finishes (tile, paint, accessories) | 2 | each | 6800
Plumbing rough-in and two ADA restrooms | 1 | lot | 24000
Water heater | 1 | each | 2800
Exposed ceiling paint and shell paint | 4000 | SF | 1.25
Sealed concrete floor | 4000 | SF | 2.5
Rough Interior Systems Subtotal
HVAC | Qty | Unit | Unit Cost | Total
Rooftop units (5 ton) | 2 | each | 11500
Ductwork and diffusers | 4000 | SF | 6
Controls and balancing | 1 | lot | 6500
HVAC Subtotal
Fire Protection and Electrical | Qty | Unit | Unit Cost | Total
Fire sprinkler system | 4000 | SF | 4.5
Fire alarm rough-in and devices | 1 | lot | 8500
Electrical service (400A) and panels | 1 | lot | 38000
Shell lighting and receptacles | 4000 | SF | 6.5
Exterior and site lighting | 1 | lot | 16000
Exit signs and emergency lighting | 1 | lot | 4500
Exterior signage allowance (raceways and blocking only) | 1 | lot | 6000
Fire Protection and Electrical Subtotal
Summary
General Conditions and Design
Sitework
Concrete
Structure and Shell
Openings
Rough Interior Systems
HVAC
Fire Protection and Electrical
Direct Cost Subtotal
Overhead |  |  | 10%
Profit (on direct cost + overhead) |  |  | 8%
TOTAL ESTIMATE
Scope of work
[Describe the work included in this estimate.]
Exclusions
[List anything not included, such as permits, repairs to hidden conditions, or work by others.]
Timeline
Estimated [X] working days from start, weather and inspections permitting.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to materials.
License and insurance
License #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com