## How to Use
Free Solar Installation Estimate Templates
From Projul, construction management software for contractors
What's inside:
• Residential Rooftop Solar: Residential Rooftop Solar Installation (8 kW)
• Ground-Mount Solar: Ground-Mount Solar Installation (10 kW)
• Battery Storage Add-On: Battery Storage Add-On Estimate
How to use:
1. Pick the tab that matches the job, then right-click the tab > Move or Copy > Create a copy, so you keep a clean original.
2. Fill in your company and customer details, the estimate date, and how long the price is valid.
3. Edit the light-yellow cells: quantities, unit costs, overhead %, and profit %. Everything else calculates itself.
4. Use the blank rows in each section to add line items. Totals pick them up automatically.
5. Update the scope, exclusions, and terms at the bottom, then File > Save As PDF to send it.
About the numbers:
Example prices are mid-range U.S. figures for 2026. Replace them with your supplier pricing and your crew's real labor rates.
Profit is calculated on direct cost plus overhead. Overhead and profit percentages are inputs on each tab.
Google Sheets: File > Import > Upload this file. Formulas carry over.
Tired of spreadsheets? Projul builds, sends, and tracks estimates from your phone,
with e-signatures and one-click conversion to jobs and invoices.
Learn more: https://projul.com/blog/free-solar-installation-estimate-templates/?utm_source=template&utm_medium=xlsx&utm_campaign=solar-installation-estimate-templates

## Residential Rooftop Solar
Solar Installation Estimate: Residential Rooftop Solar Installation (8 kW)
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
This template covers a standard residential rooftop solar installation with 20 panels totaling 8 kW on a composition shingle roof. It assumes a south-facing roof with good sun exposure and an existing 200-amp electrical panel.
Equipment | Qty | Unit | Unit Cost | Total
Solar panels (400W monocrystalline, Tier 1) | 20 | each | 250
Microinverters (IQ8+) | 20 | each | 185
Racking system (roof mount, rail-based) | 1 | system | 1200
Roof attachments / lag bolts with flashing | 40 | each | 12
Equipment Subtotal
Electrical Materials | Qty | Unit | Unit Cost | Total
AC trunk cable (microinverter) | 80 | lin ft | 3.5
Conduit (EMT, 3/4-inch) | 60 | lin ft | 2
Conduit fittings and connectors | 1 | lot | 85
Wire (THWN, 10 AWG) | 150 | lin ft | 0.75
AC disconnect (fused, 30A) | 1 | each | 65
Production meter socket | 1 | each | 45
Grounding equipment (lugs, wire, rods) | 1 | lot | 120
Rapid shutdown device (NEC 2020 compliant) | 1 | each | 150
Breaker (30A, for main panel) | 1 | each | 25
Labels and placards (NEC required) | 1 | set | 35
Electrical Materials Subtotal
Labor | Qty | Unit | Unit Cost | Total
Roof layout and racking installation | 16 | hours | 75
Panel installation (crew of 2) | 10 | hours | 75
Electrical rough-in (conduit, wire) | 8 | hours | 85
Inverter / microinverter installation | 4 | hours | 85
Electrical terminations and panel work | 4 | hours | 95
System testing and commissioning | 3 | hours | 95
Roof penetration sealing and waterproofing | 2 | hours | 75
Cleanup | 2 | hours | 50
Labor Subtotal
Permitting and Soft Costs | Qty | Unit | Unit Cost | Total
Building permit | 1 | each | 400
Electrical permit | 1 | each | 150
Plan set / engineering stamp | 1 | each | 350
Utility interconnection application | 1 | each | 75
Site survey and system design | 1 | each | 300
Monitoring setup (online portal) | 1 | each | 50
Permitting and Soft Costs Subtotal
Summary
Equipment
Electrical Materials
Labor
Permitting and Soft Costs
Direct Cost Subtotal
Overhead |  |  | 15%
Profit (on direct cost + overhead) |  |  | 15%
TOTAL ESTIMATE
Scope of work
[Describe the work included in this estimate.]
Exclusions
[List anything not included, such as permits, repairs to hidden conditions, or work by others.]
Timeline
Estimated [X] working days from start, weather and inspections permitting.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to materials.
License and insurance
License #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com

## Ground-Mount Solar
Solar Installation Estimate: Ground-Mount Solar Installation (10 kW)
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
This template covers a residential ground-mount solar array for homeowners with large yards and roofs that are not suitable for panels. The example assumes 25 panels totaling 10 kW on a fixed-tilt ground-mount racking system.
Equipment | Qty | Unit | Unit Cost | Total
Solar panels (400W monocrystalline, Tier 1) | 25 | each | 245
String inverter (10 kW, with DC optimizers) | 1 | each | 2800
DC optimizers | 25 | each | 95
Ground-mount racking system (fixed tilt) | 1 | system | 3200
Equipment Subtotal
Foundation and Site Materials | Qty | Unit | Unit Cost | Total
Ground screws or driven piles | 12 | each | 85
Concrete (pier footings) | 3 | cu yd | 165
Sonotube forms for concrete piers | 12 | each | 15
Gravel (base pad) | 3 | tons | 40
Landscape fabric (under array) | 400 | sq ft | 0.3
Foundation and Site Materials Subtotal
Electrical Materials | Qty | Unit | Unit Cost | Total
DC wire (PV wire, 10 AWG) | 300 | lin ft | 0.85
AC wire (THWN, 6 AWG) | 200 | lin ft | 1.5
Conduit (PVC, Schedule 40, 1-inch) | 150 | lin ft | 1.75
Conduit (EMT, 3/4-inch, above ground) | 40 | lin ft | 2
Conduit fittings | 1 | lot | 100
AC disconnect (fused, 60A) | 1 | each | 85
DC disconnect | 1 | each | 75
Grounding equipment | 1 | lot | 150
Rapid shutdown device | 1 | each | 150
Production meter socket | 1 | each | 45
Breaker (50A, for main panel) | 1 | each | 35
Labels and placards | 1 | set | 35
Electrical Materials Subtotal
Labor | Qty | Unit | Unit Cost | Total
Site preparation and grading | 8 | hours | 75
Foundation installation (piers or ground screws) | 12 | hours | 80
Racking assembly and installation | 16 | hours | 75
Panel installation (crew of 2) | 12 | hours | 75
Trenching (150 ft, 24-inch depth) | 10 | hours | 80
Conduit and wire installation | 10 | hours | 85
Inverter installation and wiring | 4 | hours | 95
Electrical terminations and panel work | 4 | hours | 95
System testing and commissioning | 3 | hours | 95
Backfill trench and site restoration | 6 | hours | 65
Cleanup | 2 | hours | 50
Labor Subtotal
Permitting and Soft Costs | Qty | Unit | Unit Cost | Total
Building permit | 1 | each | 500
Electrical permit | 1 | each | 150
Plan set / engineering stamp | 1 | each | 500
Utility interconnection application | 1 | each | 75
Site survey and system design | 1 | each | 400
Monitoring setup | 1 | each | 50
Permitting and Soft Costs Subtotal
Summary
Equipment
Foundation and Site Materials
Electrical Materials
Labor
Permitting and Soft Costs
Direct Cost Subtotal
Overhead |  |  | 15%
Profit (on direct cost + overhead) |  |  | 12%
TOTAL ESTIMATE
Scope of work
[Describe the work included in this estimate.]
Exclusions
[List anything not included, such as permits, repairs to hidden conditions, or work by others.]
Timeline
Estimated [X] working days from start, weather and inspections permitting.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to materials.
License and insurance
License #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com

## Battery Storage Add-On
Solar Installation Estimate: Battery Storage Add-On
Your Company Name |  | Estimate # | 1001
Street Address, City, ST ZIP |  | Date
Phone ¦ Email ¦ License # |  | Valid Until
Prepared for: Customer Name
Job address: Street, City, ST ZIP
This template covers adding a home battery storage system to an existing or new solar installation. The example assumes one residential battery unit with a 13.5 kWh capacity.
Equipment | Qty | Unit | Unit Cost | Total
Battery unit (13.5 kWh, AC-coupled) | 1 | each | 8500
Battery gateway / transfer switch | 1 | each | 1200
Battery mounting bracket | 1 | each | 150
CT clamps (current transformers) | 2 | each | 45
Equipment Subtotal
Electrical Materials | Qty | Unit | Unit Cost | Total
Critical loads panel (sub-panel, 100A) | 1 | each | 250
Wire (various gauges, THWN) | 100 | lin ft | 2
Conduit (EMT, 3/4-inch and 1-inch) | 40 | lin ft | 2.25
Conduit fittings | 1 | lot | 60
Breakers (for critical loads panel) | 8 | each | 15
AC disconnect (battery) | 1 | each | 65
Grounding materials | 1 | lot | 75
Labels and placards | 1 | set | 25
Electrical Materials Subtotal
Labor | Qty | Unit | Unit Cost | Total
Install battery mounting and unit | 4 | hours | 85
Install gateway / transfer switch | 3 | hours | 95
Install critical loads panel | 4 | hours | 95
Transfer circuits to critical loads panel | 3 | hours | 95
Conduit and wire installation | 4 | hours | 85
System programming and commissioning | 3 | hours | 100
Utility notification and inspection prep | 1 | hours | 85
Cleanup | 1 | hours | 50
Labor Subtotal
Permitting and Soft Costs | Qty | Unit | Unit Cost | Total
Electrical permit (battery addition) | 1 | each | 150
Plan revision / engineering update | 1 | each | 200
Utility interconnection update | 1 | each | 50
Permitting and Soft Costs Subtotal
Summary
Equipment
Electrical Materials
Labor
Permitting and Soft Costs
Direct Cost Subtotal
Overhead |  |  | 12%
Profit (on direct cost + overhead) |  |  | 15%
TOTAL ESTIMATE
Scope of work
[Describe the work included in this estimate.]
Exclusions
[List anything not included, such as permits, repairs to hidden conditions, or work by others.]
Timeline
Estimated [X] working days from start, weather and inspections permitting.
Payment terms
50% deposit at scheduling, 50% due at completion.
Warranty
1-year workmanship warranty. Manufacturer warranties apply to materials.
License and insurance
License #[number]. Insured by [carrier], policy #[number].
Customer signature: ______________________________ |  |  | Date: ____________
Template by Projul · projul.com